## Energy Production
Monthly Production
Overview
- On the quarter, portfolio volumes were 30.8% above YoY, mainly due to the addition of the new assets¹. Considering the same-asset base, performance was 4.0% above YoY, with positive highlights to Deltas (+13.9%) and Chuí (12.2%) more than compensating the below expected produiction in Bahia (-11.1%)
- Portfolio volumes in September were 23.7% above YoY due to, beyond the addition of the new assets (Assuruás and VDB3), above-average resources in Chui and SE/CO Clusters
- In August: (i) new assets; (ii) YoY resources above in Deltas, mainly due to the antecipated start of the wind season compared to 2022; (iii) below-expected YoY resources in Bahia; (iv) above-expected YoY resources in Chuí and (v) ~14.7 GWh of energy loss due to ONS curtailment, considering the blackout event occured in August 15th
- In July: (i) new assets; (ii) YoY resources above expected in Deltas, mainly due to na antecipated start of the wind season in 2023 vs. 2022, leading the Cluster's production to slightly above P50 levels; (iii) Chui's production 6% above YoY, in line with P50 levels; and (iv) Bahia, on a same-asset base, with volumes ~6% down YoY, mainly due to below-expected resources
- Assuruá 5 continues its ramp-up phase over 3Q23 and, in October 12nd, we conclude all its turbines assembly. The expectation is that it achieves full COD over the next days. This slight delay in Assuruá 5's full COD (previously expected to September 30th) represented a ~131 GWh deviation comparing to our 3Q business plan
- On the quarter, we saw an increase in ONS curtailment compared to our historical average, resulting in a ~37.8 GWh energy loss to portfolio in 3Q23. The total 3Q ammount represents less than ~0.5% of the middle point of our energy production assumption for 2023.
(1) It is important to mention that the new assets in portfolio (Ventos da Bahia 3, Assuruá 4 and Assuruá 5) all contributed to our Bahia Cluster results between 2022 and 2023, while Clusters Delta, SE/CO and Chuí did not have any changes in their assets in the period.
September 2023 - GWh
Complex | Assets | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep² | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | 183.7267 | 143.1721 | 97.3892 | 66.38 | 120.5913 | 119.216 | 204.4896 | 268.6737 | 320.6943 |  |  |  | 1524.333
Bahia Complex¹ | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | 190.4758 | 265.4852 | 275.7989 | 208.7566 | 290.931 | 378.8576 | 377.2422 | 353.7082 | 359.7459 |  |  |  | 2701.0015
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 94.9257 | 93.0182 | 83.2562 | 60.9818 | 59.9683 | 52.496 | 52.8568 | 56.4933 | 64.6926 |  |  |  | 618.6889
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 134.6693 | 125.6742 | 115.6042 | 106.1038 | 109.0412 | 86.4539 | 158.2621 | 147.3997 | 182.7263 |  |  |  | 1165.9347
Total |  | 603.7975 | 627.3497 | 572.0486 | 442.2222 | 580.5318 | 637.0235 | 792.8508 | 826.275 | 927.8592 | 0 | 0 | 0 | 6009.9582
Source: CCEE. ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1, 2 and 3 (50%). ² CCEE Preview.
Quarter Follow-up
Complex | Assets | Jan: 1Q23; Feb: 2Q23; Mar: 3Q23; Apr: 4Q23; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 424.288; Feb: 306.1873; Mar: 793.8577; May: 1524.333
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 731.7599; Feb: 878.5452; Mar: 1090.6964; May: 2701.0015
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 271.2001; Feb: 173.4461; Mar: 174.0428; May: 618.6889
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 375.9478; Feb: 301.5989; Mar: 488.3881; May: 1165.9347
Total |  | Jan: 1803.1958; Feb: 1659.7775; Mar: 2546.9849; Apr: 0; May: 6009.9582
2023 vs. 2022
Complex | Assets | 2023-09-01 | 2022-09-01 | Var. | 3Q23 | 3Q22 | Total | 2023 YTD | 2022 YTD | Total
Delta Complex | Delta Piauí and Maranhão | 320.6943 | 328.9383 | -2.506% | 793.8577 | 696.9633 | 13.9% | 1524.333 | 1354.1703 | 12.57%
Bahia Complex¹ | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | 359.7459 | 207.9906 | 72.96% | 1090.6964 | 639.1146 | 70.66% | 2699.2313 | 1533.6301 | 76%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 64.6926 | 57.4168 | 12.67% | 174.0428 | 175.6496 | -0.9148% | 618.6889 | 627.9045 | -1.468%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 182.7263 | 155.5071 | 17.5% | 488.3881 | 435.2649 | 12.2% | 1165.9347 | 1221.6811 | -4.563%
Total |  | 927.8592 | 749.8528 | 23.74% | 2546.9849 | 1946.9924 | 30.82% | 6008.1879 | 4737.3861 | 26.82%
¹ Ventos da Bahia 3's acquisition was concluded by the end of December 2022, Assuruá 4 reached Full COD by mid-February, 2023, and Assuruá 5 started its ramp-up phase by the end of April/beginning of May, 2023.
2023 vs. 2022 (Same-asset base)
Complex | Assets | 2023-09-01 | 2022-09-01 | Var. | 3Q23 | 3Q22 | Total | 2023 YTD | 2022 YTD | Total
Delta Complex | Delta Piauí and Maranhão | 320.6943 | 328.9383 | -2.506% | 793.8577 | 696.9633 | 13.9% | 1524.333 | 1354.1703 | 12.57%
Bahia Complex | Assuruá 1, 2 and 3 Ventos da Bahia 1 and 2 | 184.4241 | 207.9906 | -11.33% | 568.4246 | 639.1146 | -11.06% | 1488.7498 | 1533.6301 | -2.926%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 64.6926 | 57.4168 | 12.67% | 174.0428 | 175.6496 | -0.9148% | 618.6889 | 627.9045 | -1.468%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 182.7263 | 155.5071 | 17.5% | 488.3881 | 435.2649 | 12.2% | 1165.9347 | 1221.6811 | -4.563%
Total |  | 752.5373 | 749.8528 | 0.358% | 2024.7131 | 1946.9924 | 3.992% | 4797.7065 | 4737.3861 | 1.273%
Daily Gross Resource - September 2023
Complex | Assets | Jan: Monthly Resource Performance; Feb: Historical Resource; Mar: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 11.5489; Feb: 12.0755; Mar: 13.7235; Apr: 7.8034; May: 1.4767; Jun: 1.4767
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 12.3208; Feb: 13.0549; Mar: 17.1525; Apr: 3.6401; May: 2.9914; Jun: 3.523
SE/CO Complex | Gargaú and Pirapora | Jan: 1.7111; Feb: 1.5121; Mar: 2.1644; Apr: 0.89539; May: 0.31919; Jun: 0.20965
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 6.7787; Feb: 6.0885; Mar: 13.7355; Apr: 0.7674; May: 3.1421; Jun: 3.1421
Note: Information is based on a series of 43 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation.

## Energy Production - Sep 2022
Montlhy Production
September 2022 - GWh
Complex | Assets | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | 150.7945 | 173.4704 | 81.0077 | 82.547 | 74.6084 | 94.779 | 118.2878 | 249.7372 | 328.9383 |  |  |  | 1354.1703
Bahia Complex¹ | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | 118.5884 | 111.0263 | 179.182 | 157.1492 | 159.0666 | 169.5031 | 207.9862 | 223.1379 | 207.9906 |  |  |  | 1533.6301
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 93.0506 | 81.4366 | 88.2542 | 71.9485 | 61.1399 | 56.4268 | 59.0137 | 59.2192 | 57.4168 |  |  |  | 627.9063
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 160.171 | 131.7232 | 155.0975 | 104.9452 | 116.7 | 117.7792 | 149.2658 | 130.492 | 155.5071 |  |  |  | 1221.6811
Total |  | 522.6045 | 497.6566 | 503.5415 | 416.5899 | 411.5149 | 438.488 | 534.5534 | 662.5863 | 749.8528 | 0 | 0 | 0 | 4737.3879
Source: CCEE. ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1 and 2 (50%).
Quarter Follow-up
Complex | Assets | Jan: 1Q22; Feb: 2Q22; Mar: 3Q22; Apr: 4Q22; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 405.2726; Feb: 251.9344; Mar: 696.9633; Apr: 0; May: 1354.1703
Bahia Complex | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 408.7967; Feb: 485.7189; Mar: 639.1146; Apr: 0; May: 1533.6301
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 262.7414; Feb: 189.5152; Mar: 175.6496; Apr: 0; May: 627.9063
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 446.9918; Feb: 339.4244; Mar: 435.2649; Apr: 0; May: 1221.6811
Total |  | Jan: 1523.8025; Feb: 1266.5929; Mar: 1946.9924; Apr: 0; May: 4737.3879
Daily Gross Resource - September 2022
Complex | Assets | Jan: Monthly Resource performance; Feb: Historical Resource; Mar: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 11.6559; Feb: 12.6969; Mar: 13.145; Apr: 11.121; May: 1.4045; Jun: 1.3475
Bahia Complex | Assuruá 1, 2 and 3 Ventos da Bahia 1 and 2 | Jan: 7.4255; Feb: 7.6325; Mar: 8.9488; Apr: 5.8616; May: 1.6472; Jun: 1.7608
SE/CO Complex | Gargaú and Pirapora | Jan: 1.4433; Feb: 1.5125; Mar: 1.8348; Apr: 1.2284; May: 0.35139; Jun: 0.36336
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 5.5927; Feb: 6.1093; Mar: 7.2397; Apr: 4.6182; May: 3.1435; Jun: 3.4661
Note: Information is based on a series of 42 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation.