## Energy Production
Montlhy Production
Overview
- Energy production in the quarter was 18% above YoY, with the addition of 302 MW in installed capacity and the effect of na even more diversified portfolio.
(i) Resources slightly above P50 levels to consolidated portfolio. Great resources in Bahia, SHPs and Pirapora compensated below historical average resources in Chuí.
(ii) Production in Bahia, considering same 2022 asset base, was +8% YoY. Considering the addition of Assuruá 4 and VDB3 to portfolio, production was +79% YoY.
(iii) Deltas had a solid beginning of the year, with resources in line with historical average, resulting in quarterly production of +5% YoY.
(iv) Porfolio's Operational Performance was in line with the plan.
March 2023 - GWh
Complex | Assets | Jan | Feb | Mar² | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | Jan: 183.7267; Feb: 143.1721; Mar²: 97.2974 | 424.1962
Bahia Complex¹ | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1, 2 and 3 | Jan: 190.4758; Feb: 265.4852; Mar²: 276.5649 | 732.5259
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 94.9257; Feb: 93.0182; Mar²: 83.6706 | 271.6144
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 134.6693; Feb: 125.6742; Mar²: 115.5334 | 375.8769
Total |  | 603.7975 | 627.3497 | 573.0662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1804.2134
Source: CCEE. ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1, 2 and 3 (50%). ² CCEE Preview.
Quarter Follow-up
Complex | Assets | Jan: 1Q23; Feb: 2Q23; Mar²: 3Q23; Apr: 4Q23; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 424.1962; May: 424.1962
Bahia Complex | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1, 2 and 3 | Jan: 732.5259; May: 732.5259
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 271.6144; May: 271.6144
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 375.8769; May: 375.8769
Total |  | Jan: 1804.2134; Feb: 0; Mar²: 0; Apr: 0; May: 1804.2134
Daily Gross Resource - March 2023
Complex | Assets | Jan: Monthly Resource Performance; Feb: Historical Resource; Mar²: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 3.352; Feb: 4.3233; Mar²: 10.6767; Apr: 0.18848; May: 3.0909; Jun: 3.0909
Bahia Complex² | Assuruá 1, 2 and 3 Ventos da Bahia 1 and 2 | Jan: 5.9226; Feb: 4.7062; Mar²: 8.4808; Apr: 1.0646; May: 1.9557; Jun: 2.1208
SE/CO Complex | Gargaú and Pirapora | Jan: 1.5593; Feb: 1.3176; Mar²: 2.1099; Apr: 0.71092; May: 0.3265; Jun: 0.15672
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 4.5429; Feb: 4.8053; Mar²: 9.5676; Apr: 0.7989; May: 2.3245; Jun: 2.3245
Note: Information is based on a series of 43 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation. ² Does not consider Assuruá 4 and Ventos da Bahia 3.