## Energy Production - Mar. 2024
Monthly Energy Production
Overview
- In 1Q24, portfolio volumes were up 8.2% YoY, mainly due to the new assets¹ in portfolio. Clusters Delta (+5.1% YoY) and Chuí (+3.3% YoY) partially compensated by Clusters Bahia (-10.9% YoY) and SE/CO (-9.9% YoY). On a same-asset base, production was down 11.4% YoY.
- Portfolio volumes in March were up 7.6% YoY. On a same-asset base, production was down 17.2% YoY, mainly due to cold fronts formation and greater humidity in Delta, Bahia and Chuí Clusters;
- In February: (i) new assets; (ii) Delta Cluster with volumes 1.9% below YoY, mainly due to resources in line with expected (P43 in Feb/24 vs. P40 in Feb/23); (iii) Bahia Cluster 3.3% below YoY, mainly due to the formation of a tropical storm at the end of the month; (iv) Goodnight Cluster volumes contributed with 85.8 GWh to portfolio volumes and; (v) Chuí Cluster volumes up 5.0% YoY mainly due to resources;
- In January: (i) new assets; (ii) longer-lasting cold fronts in Bahia; (iii) Goodnight 1 was fully operational in Jan 15th; (iv) Cluster Delta's resources above historical-average due to a delay in the rain-season on the region; (v) resources above expected combined with above-plan availability in Chuí;
- In the quarter, Goodnight Cluster contributed with 220.9 GWh to portfolio's production.
Note: It is important to mention that the new assets in Brazil portfolio contributed to our Bahia Cluster (Assuruá 4 - started its ramp-up phase in Sep. 2022 and reached Full COD by mid-Feb, 2023 - and Assuruá 5 - started irs ramp-up phase in Apr. 2023 and was 100% operational by the end of Oct., 2023) results between 2023 and 2024, while Clusters Delta, SE/CO and Chuí did not have any changes in their assets in the period. From November 2023 on, we also had the start of operations of the new asset Goodnight 1, starting Goodnight Cluster, in Texas - United States.
March 2024 - GWh
Complex | Assets | Jan | Feb | Mar² | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | Jan: 229.3273; Feb: 140.4043; Mar²: 76.1706 | 445.9022
Bahia Complex¹ | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 126.4045; Feb: 255.7273; Mar²: 269.9372 | 652.069
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 80.9266; Feb: 79.1729; Mar²: 84.1376 | 244.2371
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 150.6607; Feb: 131.9659; Mar²: 105.6088 | 388.2355
Goodnight Complex | Goodnight 1 | Jan: 55.1417; Feb: 85.8778; Mar²: 79.8935 | 220.9131
Total |  | 642.4608 | 693.1482 | 615.7478 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1951.3568
Source: CCEE (Brazil Portfolio). ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1, 2 and 3 (50%). ² CCEE Preview (Brazil Portfolio).
Quarter Follow-up - 2024
Complex | Assets | Jan: 1Q24; Feb: 2Q24; Mar²: 3Q24; Apr: 4Q24; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 445.9022; Feb: 0; Mar²: 0; Apr: 0; May: 445.9022
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 652.069; Feb: 0; Mar²: 0; Apr: 0; May: 652.069
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 244.2371; Feb: 0; Mar²: 0; Apr: 0; May: 244.2371
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 388.2355; Feb: 0; Mar²: 0; Apr: 0; May: 388.2355
Goodnight Complex | Goodnight 1 | Jan: 220.9131; Feb: 0; Mar²: 0; Apr: 0; May: 220.9131
Total |  | Jan: 1951.3568; Feb: 0; Mar²: 0; Apr: 0; May: 1951.3568
2024 vs. 2023
Complex | Assets | 2024-03-01 | 2023-03-01 | Var. | 1Q24 | 1Q23 | Var. | 2024 YTD | 2023 YTD | Var.
Delta Complex | Delta Piauí and Maranhão | 76.1706 | 97.3892 | -21.79% | 445.9022 | 424.288 | 5.094% | 445.9022 | 424.288 | 5.094%
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | 269.9372 | 275.7637 | -2.113% | 652.069 | 731.7285 | -10.89% | 652.069 | 731.7285 | -10.89%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 84.1376 | 83.2562 | 1.059% | 244.2371 | 271.2001 | -9.942% | 244.2371 | 271.2001 | -9.942%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 105.6088 | 115.6042 | -8.646% | 388.2355 | 375.9478 | 3.268% | 388.2355 | 375.9478 | 3.268%
Goodnight Complex | Goodnight 1 | 79.8935 | 0 | n.a. | 220.9131 | 0 | n.a. | 220.9131 | 0 | n.a.
Total |  | 615.7478 | 572.0134 | 7.646% | 1951.3568 | 1803.1644 | 8.218% | 1951.3568 | 1803.1644 | 8.218%
¹ Assuruá 4 reached Full COD by mid-February, 2023, and Assuruá 5 reached Full COD by the end of October, 2023. Goodnight 1, in Texas - United States, started its operations, with 51 out of 59 turbines commissioned by December 31, 2023.
2024 vs. 2023 (Same-asset base)
Complex | Assets | 2024-03-01 | 2023-03-01 | Var. | 1Q24 | 1Q23 | Var. | 2024 YTD | 2023 YTD | Var.
Delta Complex | Delta Piauí and Maranhão | 76.1706 | 97.3892 | -21.79% | 445.9022 | 424.288 | 5.094% | 445.9022 | 424.288 | 5.094%
Bahia Complex | Assuruá 1, 2, 3 and 4¹ Ventos da Bahia 1, 2 and 3 | 207.4435 | 275.7637 | -24.77% | 417.8036 | 617.4622 | -32.34% | 417.8036 | 617.4622 | -32.34%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 84.1376 | 83.2562 | 1.059% | 244.2371 | 271.2001 | -9.942% | 244.2371 | 271.2001 | -9.942%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 105.6088 | 115.6042 | -8.646% | 388.2355 | 375.9478 | 3.268% | 388.2355 | 375.9478 | 3.268%
Total |  | 473.3605 | 572.0134 | -17.25% | 1496.1784 | 1688.8981 | -11.41% | 1496.1784 | 1688.8981 | -11.41%
Note: It is important to mention that the new assets in Brazil portfolio (Assuruá 4 - started its ramp-up phase in Sep. 2022 and reached Full COD by mid-Feb, 2023 - and Assuruá 5 - started irs ramp-up phase in Apr. 2023 and was 100% operational by the end of Oct., 2023) contributed to our Bahia Cluster results between 2023 and 2024, while Clusters Delta, SE/CO and Chuí did not have any changes in their assets in the period. Moreover, from Nov/23 on, we also had the start of operations of the new asset Goodnight 1, starting Goodnight Cluster, in Texas - United States. (1) Considers Assuruá 4 in the year-over-year comparison starting in March, does not consider Assuruá 4's ramp-up phase between Sep/22 to Feb/23.
Daily Gross Resource - March 2024
Complex | Assets | Jan: Monthly Resource Performance; Feb: Historical Resource; Mar²: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 2.5858; Feb: 4.0855; Mar²: 5.3978; Apr: 0.46814; May: 1.5245; Jun: 1.5245
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1 and 2 | Jan: 9.7438; Feb: 10.7477; Mar²: 20.6608; Apr: 0.56012; May: 5.2186; Jun: 5.823
SE/CO Complex | Gargaú and Pirapora | Jan: 1.0328; Feb: 1.3176; Mar²: 1.8905; Apr: 0.00034885; May: 0.62646; Jun: 0.12355
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 4.0368; Feb: 4.8053; Mar²: 11.2563; Apr: 0.54748; May: 2.492; Jun: 2.492
Goodnight Complex | Goodnight 1 | Jan: 2.9111; Feb: 3.1033; Mar²: 6.2739; Apr: 0.32508; May: 1.4894; Jun: 1.4894
Note: Information is based on a series of 44 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation.

## Energy Production - Feb. 2024
Monthly Energy Production
Overview
- Portfolio volumes in February were 10.6% above YoY. YTD, production increased 8.6% and, on a same-asset base, production was down 8.3% YoY. The highlights are:
- Delta Cluster with volumes 1.9% below YoY, mainly due to resources in line with expected (p43 in Feb/24 vs. p40 in Feb/23);
- Bahia Cluster was 3.3% below YoY (or -10.9% YoY on a same-asset base), mainly due to the formation of a tropical storm at the end of the month - a very rare event;
- Goodnight Cluster volumes were contributed with 85.8 GWh to portfolio;
- Chuí Cluster with volumes up 5.0% YoY, mainly due to resources above expected for the month.
Note: It is important to mention that the new assets in Brazil portfolio contributed to our Bahia Cluster (Assuruá 4 and Assuruá 5) results between 2023 and 2024, while Clusters Delta, SE/CO and Chuí did not have any changes in their assets in the period. From November 2023 on, we also had the start of operations of the new asset Goodnight 1, starting Goodnight Cluster, in Texas - United States.
February 2024 - GWh
Complex | Assets | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | Jan: 229.3273; Feb: 140.4043 | 369.7316
Bahia Complex¹ | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 126.4045; Feb: 255.7273 | 382.1318
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 80.9266; Feb: 79.1729 | 160.0995
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 150.6607; Feb: 131.9659 | 282.6266
Goodnight Complex | Goodnight 1 | Jan: 55.1417; Feb: 85.8425 | 140.9843
Total |  | 642.4608 | 693.1129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1335.5738
Source: CCEE (Brazil Portfolio). ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1, 2 and 3 (50%). ² CCEE Preview (Brazil Portfolio).
Quarter Follow-up - 2024
Complex | Assets | Jan: Jan + Feb; Feb: 2Q24; Mar: 3Q24; Apr: 4Q24; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 369.7316; Feb: 0; Mar: 0; Apr: 0; May: 369.7316
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 382.1318; Feb: 0; Mar: 0; Apr: 0; May: 382.1318
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 160.0995; Feb: 0; Mar: 0; Apr: 0; May: 160.0995
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 282.6266; Feb: 0; Mar: 0; Apr: 0; May: 282.6266
Goodnight Complex | Goodnight 1 | Jan: 140.9843; Feb: 0; Mar: 0; Apr: 0; May: 140.9843
Total |  | Jan: 1335.5738; Feb: 0; Mar: 0; Apr: 0; May: 1335.5738
2024 vs. 2023
Complex | Assets | 2024-02-01 | 2023-02-01 | Var. | Jan + Feb/24 | Jan + Feb/23 | Var. | 2024 YTD | 2023 YTD | Var.
Delta Complex | Delta Piauí and Maranhão | 140.4043 | 143.1721 | -1.933% | 369.7316 | 326.8988 | 13.1% | 369.7316 | 326.8988 | 13.1%
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | 255.7273 | 265.4817 | -3.674% | 382.1318 | 455.9648 | -16.19% | 382.1318 | 455.9648 | -16.19%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 79.1729 | 93.0182 | -14.88% | 160.0995 | 187.9438 | -14.82% | 160.0995 | 187.9438 | -14.82%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 131.9659 | 125.6742 | 5.006% | 282.6266 | 260.3436 | 8.559% | 282.6266 | 260.3436 | 8.559%
Goodnight Complex | Goodnight 1 | 85.8425 | 0 | n.a. | 140.9843 | 0 | n.a. | 140.9843 | 0 | n.a.
Total |  | 693.1129 | 627.3463 | 10.48% | 1335.5738 | 1231.151 | 8.482% | 1335.5738 | 1231.151 | 8.482%
¹ Assuruá 4 reached Full COD by mid-February, 2023, and Assuruá 5 reached Full COD by the end of October, 2023. Goodnight 1, in Texas - United States, started its operations, with 51 out of 59 turbines commissioned by December 31, 2023.
2024 vs. 2023 (Same-asset base)
Complex | Assets | 2024-02-01 | 2023-02-01 | Var. | Jan + Feb/24 | Jan + Feb/23 | Var. | 2024 YTD | 2023 YTD | Var.
Delta Complex | Delta Piauí and Maranhão | 140.4043 | 143.1721 | -1.933% | 369.7316 | 326.8988 | 13.1% | 369.7316 | 326.8988 | 13.1%
Bahia Complex | Assuruá 1, 2 and 3 Ventos da Bahia 1, 2 and 3 | 169.4282 | 190.1354 | -10.89% | 210.3602 | 340.3985 | -38.2% | 210.3602 | 340.3985 | -38.2%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | 79.1729 | 93.0182 | -14.88% | 160.0995 | 187.9438 | -14.82% | 160.0995 | 187.9438 | -14.82%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | 131.9659 | 125.6742 | 5.006% | 282.6266 | 260.3436 | 8.559% | 282.6266 | 260.3436 | 8.559%
Total |  | 520.9713 | 551.9999 | -5.621% | 1022.8179 | 1115.5847 | -8.316% | 1022.8179 | 1115.5847 | -8.316%
Note: It is important to mention that the new assets in Brazil portfolio (Assuruá 4 and Assuruá 5) contributed to our Bahia Cluster results between 2023 and 2024, while Clusters Delta, SE/CO and Chuí did not have any changes in their assets in the period. Moreover, from Nov/23 on, we also had the start of operations of the new asset Goodnight 1, starting Goodnight Cluster, in Texas - United States. Does not consider Assuruá 4's ramp-up phase started in Sep/22 and concluded by mid-Feb/23.
Daily Gross Resource - February 2024
Complex | Assets | Jan: Monthly Resource Performance; Feb: Historical Resource; Mar: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 5.2131; Feb: 5.2285; Mar: 13.0524; Apr: 0.50592; May: 3.9787; Jun: 3.9787
Bahia Complex | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 7.7338; Feb: 9.1974; Mar: 15.2324; Apr: 0.65366; May: 4.7791; Jun: 5.8527
SE/CO Complex | Gargaú and Pirapora | Jan: 1.2405; Feb: 1.4789; Mar: 2.1282; Apr: 0.48631; May: 0.45955; Jun: 0.12696
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 5.2948; Feb: 4.9964; Mar: 11.7774; Apr: 0.801; May: 2.8237; Jun: 2.8237
Goodnight Complex | Goodnight 1 | Jan: 3.166; Feb: 2.8346; Mar: 5.8701; Apr: 1.1125; May: 1.3879; Jun: 1.3879
Note: Information is based on a series of 44 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation.

## Energy Production - Jan. 2024
Monthly Energy Production
Overview
- In January, production was 2.7% below YoY. On a same-asset base, production was 5.0% below. The highlights are:
- January had longer-lasting cold fronts in Bahia, an all-time record of below-expected resources considering our 43-year series;
- Goodnight 1 had all of its turbines operational on January 15th, contributing with 55.1 GWh to portfolio's production;
- Cluster Delta's resources were above historical-average, due to a delay in the rain-season on the region, resulting in an increase of 24.8% in the Cluster's production YoY;
- Cluster Chuí had a production 11.9% above YoY, resulting from better-than-expected resources combined with above-plan availability.
Note: It is important to mention that the new assets in Brazil portfolio contributed to our Bahia Cluster (Assuruá 4 and Assuruá 5) results between 2023 and 2024, while Clusters Delta, SE/CO and Chuí did not have any changes in their assets in the period. From November 2023 on, we also had the start of operations of the new asset Goodnight 1, starting Goodnight Cluster, in Texas - United States.
January 2024 - GWh
Complex | Assets | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | Jan: 229.3273 | 229.3273
Bahia Complex¹ | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 126.4045 | 126.4045
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 80.9266 | 80.9266
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 150.6607 | 150.6607
Goodnight Complex | Goodnight 1 | Jan: 55.1417 | 55.1417
Total |  | 642.4608 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 642.4608
Source: CCEE (Brazil Portfolio). ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1, 2 and 3 (50%).
Quarter Follow-up - 2024
Complex | Assets | Jan: 1Q24; Feb: 2Q24; Mar: 3Q24; Apr: 4Q24; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 229.3273; Feb: 0; Mar: 0; Apr: 0; May: 229.3273
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 126.4045; Feb: 0; Mar: 0; Apr: 0; May: 126.4045
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 80.9266; Feb: 0; Mar: 0; Apr: 0; May: 80.9266
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 150.6607; Feb: 0; Mar: 0; Apr: 0; May: 150.6607
Goodnight Complex | Goodnight 1 | Jan: 55.1417; Feb: 0; Mar: 0; Apr: 0; May: 55.1417
Total |  | Jan: 642.4608; Feb: 0; Mar: 0; Apr: 0; May: 642.4608
2024 vs. 2023
Complex | Assets | Jan: 2024-01-01; Feb: 2023-01-01; Mar: Var.; Apr: YTD 2024; May: YTD 2023; Jun: Var.
Delta Complex | Delta Piauí and Maranhão | Jan: 229.3273; Feb: 183.7267; Mar: 24.82%; Apr: 229.3273; May: 183.7267; Jun: 24.82%
Bahia Complex | Assuruá 1, 2, 3, 4 and 5 Ventos da Bahia 1, 2 and 3 | Jan: 126.4045; Feb: 190.4758; Mar: -33.64%; Apr: 126.4045; May: 190.4758; Jun: -33.64%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 80.9266; Feb: 94.9257; Mar: -14.75%; Apr: 80.9266; May: 94.9257; Jun: -14.75%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 150.6607; Feb: 134.6693; Mar: 11.87%; Apr: 150.6607; May: 134.6693; Jun: 11.87%
Goodnight Complex | Goodnight 1 | Jan: 55.1417; Feb: 0; Mar: n.a.; Apr: 55.1417; May: 0; Jun: n.a.
Total |  | Jan: 642.4608; Feb: 603.7975; Mar: 6.403%; Apr: 642.4608; May: 603.7975; Jun: 6.403%
¹ Assuruá 4 reached Full COD by mid-February, 2023, and Assuruá 5 reached Full COD by the end of October, 2023. Goodnight 1, in Texas - United States, started its operations, with 51 out of 59 turbines commissioned by December 31, 2023.
2024 vs. 2023 (Same-asset base)
Complex | Assets | Jan: 2024-01-01; Feb: 2023-01-01; Mar: Var.; Apr: YTD 2024; May: YTD 2023; Jun: Var.
Delta Complex | Delta Piauí and Maranhão | Jan: 229.3273; Feb: 183.7267; Mar: 24.82%; Apr: 229.3273; May: 183.7267; Jun: 24.82%
Bahia Complex | Assuruá 1, 2 and 3 Ventos da Bahia 1, 2 and 3 | Jan: 74.4577; Feb: 150.263; Mar: -50.45%; Apr: 74.4577; May: 150.263; Jun: -50.45%
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 80.9266; Feb: 94.9257; Mar: -14.75%; Apr: 80.9266; May: 94.9257; Jun: -14.75%
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 150.6607; Feb: 134.6693; Mar: 11.87%; Apr: 150.6607; May: 134.6693; Jun: 11.87%
Total |  | Jan: 535.3723; Feb: 563.5848; Mar: -5.006%; Apr: 535.3723; May: 563.5848; Jun: -5.006%
Note: It is important to mention that the new assets in Brazil portfolio (Assuruá 4 and Assuruá 5) contributed to our Bahia Cluster results between 2023 and 2024, while Clusters Delta, SE/CO and Chuí did not have any changes in their assets in the period. Moreover, from Nov/23 on, we also had the start of operations of the new asset Goodnight 1, starting Goodnight Cluster, in Texas - United States. Does not consider Assuruá 4's ramp-up phase started in Sep/22 and concluded by mid-Feb/23.
Daily Gross Resource - January 2024
Complex | Assets | Jan: Monthly Resource Performance; Feb: Historical Resource; Mar: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 7.7782; Feb: 6.4421; Mar: 11.6978; Apr: 1.5857; May: 2.2584; Jun: 2.2584
Bahia Complex | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 3.5958; Feb: 8.5574; Mar: 9.7107; Apr: 0.40404; May: 2.5511; Jun: 3.2077
SE/CO Complex | Gargaú and Pirapora | Jan: 1.2596; Feb: 1.4745; Mar: 2.3197; Apr: 0.45726; May: 0.53976; Jun: 0.1574
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 5.4407; Feb: 5.4692; Mar: 11.8201; Apr: 1.1514; May: 2.8873; Jun: 2.8873
Goodnight Complex | Goodnight 1 | Jan: 2.4245; Feb: 2.8587; Mar: 5.7007; Apr: 0.1515; May: 1.5725; Jun: 1.5725
Note: Information is based on a series of 44 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation.

## Energy Production - Mar. 2023
Monthly Production
March 2023 - GWh
Complex | Assets | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | Jan: 183.7267; Feb: 143.1721; Mar: 97.3892 | 424.288
Bahia Complex¹ | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 190.483; Feb: 265.4817; Mar: 275.7637 | 731.7285
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 94.9257; Feb: 93.0182; Mar: 83.2562 | 271.2001
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 134.6693; Feb: 125.6742; Mar: 115.6042 | 375.9478
Total |  | 603.8047 | 627.3463 | 572.0134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1803.1644
Source: CCEE. ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1 and 2 (50%).
Quarter Follow-up - 2023
Complex | Assets | Jan: 1Q23; Feb: 2Q23; Mar: 3Q23; Apr: 4Q23; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 424.288; Feb: 0; Mar: 0; Apr: 0; May: 424.288
Bahia Complex | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 731.7285; Feb: 0; Mar: 0; Apr: 0; May: 731.7285
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 271.2001; Feb: 0; Mar: 0; Apr: 0; May: 271.2001
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 375.9478; Feb: 0; Mar: 0; Apr: 0; May: 375.9478
Total |  | Jan: 1803.1644; Feb: 0; Mar: 0; Apr: 0; May: 1803.1644
Daily Gross Resource - March 2023
Complex | Assets | Jan: Monthly Resource performance; Feb: Historical Resource; Mar: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 3.352; Feb: 4.3233; Mar: 10.6767; Apr: 0.18848; May: 3.0909; Jun: 3.0909
Bahia Complex² | Assuruá 1, 2 and 3 Ventos da Bahia 1 and 2 | Jan: 5.9226; Feb: 4.7062; Mar: 8.4808; Apr: 1.0646; May: 1.9557; Jun: 2.1208
SE/CO Complex | Gargaú and Pirapora | Jan: 1.5593; Feb: 1.3176; Mar: 2.1099; Apr: 0.71092; May: 0.3265; Jun: 0.15672
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 4.5429; Feb: 4.8053; Mar: 9.5676; Apr: 0.7989; May: 2.3245; Jun: 2.3245
Note: Information is based on a series of 42 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation. ² Does not consider Assuruá 4 and Ventos da Bahia 3.

## Energy Production - Feb. 2023
Monthly Production
February 2023 - GWh
Complex | Assets | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | Jan: 183.7267; Feb: 143.1721 | 326.8988
Bahia Complex¹ | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 190.483; Feb: 265.4817 | 455.9648
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 94.9257; Feb: 93.0182 | 187.9438
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 134.6693; Feb: 125.6742 | 260.3436
Total |  | 603.8047 | 627.3463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1231.151
Source: CCEE. ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1 and 2 (50%).
Quarter Follow-up - 2023
Complex | Assets | Jan: 1Q23; Feb: 2Q23; Mar: 3Q23; Apr: 4Q23; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 326.8988; Feb: 0; Mar: 0; Apr: 0; May: 326.8988
Bahia Complex | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 455.9648; Feb: 0; Mar: 0; Apr: 0; May: 455.9648
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 187.9438; Feb: 0; Mar: 0; Apr: 0; May: 187.9438
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 260.3436; Feb: 0; Mar: 0; Apr: 0; May: 260.3436
Total |  | Jan: 1231.151; Feb: 0; Mar: 0; Apr: 0; May: 1231.151
Daily Gross Resource - February 2023
Complex | Assets | Jan: Monthly Resource performance; Feb: Historical Resource; Mar: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 5.5894; Feb: 5.5086; Mar: 11.1746; Apr: 0.087185; May: 2.7769; Jun: 2.7769
Bahia Complex | Assuruá 1, 2 and 3 Ventos da Bahia 1 and 2 | Jan: 6.4644; Feb: 5.2099; Mar: 9.6076; Apr: 2.1219; May: 1.5599; Jun: 1.801
SE/CO Complex | Gargaú and Pirapora | Jan: 1.7715; Feb: 1.5237; Mar: 3.4093; Apr: 0.93818; May: 0.45726; Jun: 0.14837
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 5.0896; Feb: 4.9964; Mar: 12.1916; Apr: 1.0582; May: 2.9479; Jun: 2.9479
Note: Information is based on a series of 42 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation.

## Energy Production - Jan. 2023
Monthly Production
January 2023 - GWh
Complex | Assets | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Delta Complex | Delta Piauí and Maranhão | Jan: 183.7267 | 183.7267
Bahia Complex¹ | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 190.4758 | 190.4758
SE/CO Complex¹ | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 94.9257 | 94.9257
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 134.6693 | 134.6693
Total |  | 603.7975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 603.7975
Source: CCEE. ¹ Considers the proportional stake of Pirapora (50%) and Ventos da Bahia 1 and 2 (50%).
Quarter Follow-up - 2023
Complex | Assets | Jan: 1Q22; Feb: 2Q22; Mar: 3Q22; Apr: 4Q22; May: Total
Delta Complex | Delta Piauí and Maranhão | Jan: 183.7267; Feb: 0; Mar: 0; Apr: 0; May: 183.7267
Bahia Complex | Assuruá 1, 2, 3 and 4 Ventos da Bahia 1 and 2 | Jan: 190.4758; Feb: 0; Mar: 0; Apr: 0; May: 190.4758
SE/CO Complex | Pipoca, Serra das Agulhas, Indaiás, Gargaú and Pirapora | Jan: 94.9257; Feb: 0; Mar: 0; Apr: 0; May: 94.9257
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 134.6693; Feb: 0; Mar: 0; Apr: 0; May: 134.6693
Total |  | Jan: 603.7975; Feb: 0; Mar: 0; Apr: 0; May: 603.7975
Daily Gross Resource - January 2023
Complex | Assets | Jan: Monthly Resource performance; Feb: Historical Resource; Mar: Maximum Resource; Apr: Minimum Resource; May: Historical Standard Deviation¹; Jun: Monthly Standard Deviation¹
Delta Complex | Delta Piauí and Maranhão | Jan: 6.6265; Feb: 6.8678; Mar: 10.0459; Apr: 3.4761; May: 3.1258; Jun: 2.9597
Bahia Complex | Assuruá 1, 2 and 3 Ventos da Bahia 1 and 2 | Jan: 4.5946; Feb: 4.7164; Mar: 7.1211; Apr: 2.5235; May: 2.1586; Jun: 2.0955
SE/CO Complex | Gargaú and Pirapora | Jan: 1.3926; Feb: 1.4751; Mar: 1.9448; Apr: 0.86825; May: 0.49678; Jun: 0.45236
Chuí Complex | Santa Vitória do Palmar and Hermenegildo | Jan: 4.3704; Feb: 5.5251; Mar: 6.8731; Apr: 4.5254; May: 2.6098; Jun: 2.3554
Note: Information is based on a series of 42 years of ERA-5. Does not consider the hydro portfolio. ¹ Daily standard deviation.